An Intelligent Multimodal Medical Image Registration using Hybrid Meta-Heuristic Optimization with Transformer Based Residual UNet

Introduction

Medical image registration is a crucial process in the field of medical imaging that involves aligning and overlaying multiple medical images obtained from different modalities, time points, or perspectives [9]. The goal of image registration is to integrate information from various imaging sources to provide a comprehensive and accurate representation of the patient's anatomy or pathology [10]. Multimodal medical image registration specifically refers to the alignment of images acquired through different imaging modalities, such as Magnetic Resonance Imaging (MRI), Computed Tomography (CT), Positron Emission Tomography (PET), ultrasound, and more [11]. This harmonization contributes significantly to diagnostic precision, helping healthcare professionals to identify and analyze abnormalities with greater accuracy [12]. One of the key benefits of medical image registration is its impact on interventions. By ensuring the accurate alignment of medical images, this technique facilitates the precise placement of instruments and the delivery of treatments such as radiation therapy [13]. This level of accuracy enhances overall procedural precision, leading to improved patient outcomes and reduced risks [14]. The continuous evolution of technology is expected to further enhance the capabilities of image registration in the medical field [15]. As advancements in imaging technology and computational methods progress, the precision and efficacy of medical diagnoses and interventions are likely to improve. This ongoing innovation holds the promise of providing healthcare professionals with even more powerful tools for understanding patient anatomy and pathology [16].

Various imaging modalities such as MRI, CT, PET and ultrasound, exhibit unique characteristics, that encompassing factors such as contrast, resolution, and noise levels. Aligning images with these differences poses a significant challenge [17]. Inherent patient movements during image acquisition can lead to misalignments. For instance, respiratory or cardiac motion can introduce deformations that need to be accounted for in the registration process [18]. Multimodal images may have different spatial resolutions, and adapting to these scale differences is crucial for accurate registration [19]. User-friendly interfaces and integration with existing clinical workflows are important for the successful implementation of multimodal image registration tools in healthcare settings. Addressing these challenges requires a combination of advanced algorithms, interdisciplinary collaboration, and ongoing research efforts in the field of medical imaging [20].

Deep learning techniques have gained significant attention in recent years due to their ability to automatically learn and extract complex features from medical images, improving the accuracy and efficiency of multimodal medical image registration [21]. Deep learning techniques have shown promise in addressing the limitations of traditional medical image registration methods. The ability of neural networks to automatically learn hierarchical representations of features from data makes them well-suited for handling complex and non-linear relationships in medical images [22]. CNNs are effective in automatically learning hierarchical features from medical images, allowing them to capture relevant patterns for registration [23]. GNNs can model anatomical structures as graphs, capturing spatial relationships between different regions for improved registration accuracy [24]. Deep learning methods automate the multimodal image registration process, reducing the need for manual intervention and potentially improving efficiency. The integration of deep learning techniques in multimodal medical image registration holds great promise for improving accuracy, efficiency, and adaptability in aligning diverse medical imaging datasets [25].

Related works

In 2023, Alessa et al. [1] have recommended the adoption of research advances into practice, and a fair benchmark across competing approaches. The Learn2Reg challenge addressed these limitations by providing a multi-task medical image registration data set for comprehensive characterization of deformable registration algorithms. Learn2Reg covered a wide range of anatomies (brain, abdomen, and thorax), modalities (ultrasound, CT, MR), availability of annotations, as well as intra- and inter-patient registration evaluation. To establish an easily accessible framework for training and validation of 3D registration methods, which enabled the compilation of results of over 65 individual method submissions from more than 20 unique teams. We used a complementary set of metrics, including robustness, accuracy, plausibility, and runtime, enabling unique insight into the current state-of-the-art of medical image registration.

In 2023, A. Lara et al. [2] have presented a deformable deep learning-based image registration method for quantitative myocardial perfusion CT examinations, which in contrast to previous approaches, takes into account some unique challenges such as low image quality with less accurate anatomical landmarks, dynamic changes of contrast agent concentration in the heart chambers and tissue, and misalignment caused by cardiac stress, respiration, and patient motion. The introduced method uses a recursive cascade network with a ventricle segmentation module, and a novel loss function that accounts for local contrast changes over time. It was trained and validated on a dataset of n = 118 patients with known or suspected coronary artery disease and/or aortic valve insufficiency.

In 2023, Jing et al. [3] have suggested a Deep Reinforcement Learning (DRL) based method for image registration to explicitly model the step-wise nature of the human registration process. We cast an image registration process as a Markov Decision Process (MDP) where actions are defined as global image adjustment operations. Then we train our proxy to learn the optimal action sequences to achieve a good registration. More specifically, we propose a DRL proxy incorporated an attention mechanism to address the challenge of large differences in appearance between images from different modalities. Registration experiments on 3D CT-MR image pairs of patients with nasopharyngeal carcinoma and on publicly available 3D PET-MR image pairs show that our approach significantly outperforms other methods, and achieves state-of-the-art performance in multi-m-modal medical image registration.

In 2022, Julia et al. [4] have presented the joint Non-Correspondence Segmentation and Image Registration Network (NCR-Net), a Convolution Neural Network (CNN) trained on a Mumford–Shah-like functional, transferring the classical approach to the field of deep learning. NCR-Net consists of one encoding and two decoding parts allowing the network to simultaneously generate diffeomorphic deformations and segment non-correspondences. The loss function was composed of a masked image distance measure and regularization of deformation field and segmentation output. Additionally, anatomical labels were used for weak supervision of the registration task.

In 2023, Anika et al. [5] have presented a synthetic and a real patient dataset - of three-dimensional CT and MR images of the liver. The networks were first trained semi-supervised using the synthetic dataset and then evaluated on the synthetic dataset and the unseen patient dataset. Afterwards, the networks were fine-tuned on the patient dataset and subsequently evaluated on the patient dataset. The networks were compared using our own developed CNN as benchmark and a conventional affine registration with SimpleElastix as baseline. Six networks improved the pre-registration Dice coefficient of the synthetic dataset significantly (p-value  0.05) and nine networks improved the pre-registration Dice coefficient of the patient dataset significantly and are therefore able to generalize to the new datasets used in our experiments. Many different machine learning-based methods have been proposed for affine multimodal medical image registration, but few are generalizable to new data and applications.

In 2021, Fei et al. [6] have recommended a novel Laplacian Eigenmaps based deep learning network for 2D medical image registration. The proposed network was firstly used to extract the intrinsic features of different modal medical images. Then the self-similarity of extracted features was explored to construct the Learning Based Data-Adaptive Descriptor (LDAD) for structural representations. The sum of squared differences (SSD) between the structural representations of the reference and floating images was used as the similarity metric to construct the objective function for image registration. The experimental results showed that the LDAD based registration method can produce visually better registered results and provide higher registration accuracy for different test images than several state-of-the-art registration methods in terms of target registration error.

In 2021, Wei et al. [7] have presented a deep learning-based pipeline to accelerate and simplify MRI-histopathology image registration in prostate cancer. Our pipeline consists of image preprocessing, estimation of affine and deformable transformations by deep neural networks, and mapping cancer labels from histopathology images onto MRI using estimated transformations. We trained our neural network using MR and histopathology images of 99 patients from our internal cohort (Cohort 1) and evaluated its performance using 53 patients from three different cohorts (an additional 12 from Cohort 1 and 41 from two public cohorts). Results showed that our deep learning pipeline has achieved more accurate registration results and were at least 20 times faster than a state-of-the-art registration algorithm.

In 2022, Xuxin et al. [8] have presented recent studies to provide a comprehensive overview of applying deep learning methods in various medical image analysis tasks. Especially, we emphasized the latest progress and contributions of state-of-the-art unsupervised and semi-supervised deep learning in medical image analysis, which was summarized based on different application scenarios, including classification, segmentation, detection, and image registration.

Problem Statement

Multimodal medical image registration is a critical component of modern medical imaging, enabling healthcare professionals to leverage the strengths of different imaging modalities for comprehensive patient assessment and improved clinical outcomes. Multimodal medical image registration is a critical process in the field of medical imaging that involves overlaying multiple medical images, often from different modalities or time points. The primary goal is to integrate information from various sources, enabling healthcare professionals to gain a comprehensive understanding of a patient's anatomy, pathology, and treatment response. This process plays a pivotal role in diagnosis, treatment planning, and monitoring of diseases. The features and challenges of existing techniques are shown in Table 1. CT images [1] provides high-resolution anatomical details, enabling the visualization of internal structures with remarkable clarity but the use of ionizing radiation in CT imaging poses a potential risk, particularly in repeated or high-dose scans. CT images [2] is versatile and can be used for various applications, including soft tissue imaging, vascular studies, and bone imaging but it is excellent for visualizing bones and dense tissues, it may have limitations in providing detailed soft tissue contrast compared to other modalities like MRI.DRL [3] allows models to learn autonomously by interacting with an environment, making it suitable for adaptive and dynamic tasks in medical imaging but it may require substantial amounts of data and computational resources to achieve optimal performance, making it challenging in scenarios where data is limited.CNN [4] excel at automatically learning hierarchical features from images, making them well-suited for tasks such as image classification and segmentation but it may require large labeled datasets for training, and performance can suffer when faced with insufficient or biased data.CNN [5] excel at automatically learning hierarchical features from images but it may struggle with understanding the global context of an image, especially in cases where contextual information is crucial for accurate diagnosis. LDAD [6] can adaptively learn image representations, improving their ability to capture relevant features for specific tasks but it may be sensitive to noise in the input data, impacting the quality of learned descriptors.MRI image [7]provides excellent soft tissue contrast, making it valuable for imaging organs, muscles, and nerves but it is generally more expensive than CT, and access to MRI may be limited in some healthcare settings.MRI image [8] does not use ionizing radiation, making it safer for certain patient populations, such as pregnant women scans typically take longer than CT scans, leading to potential challenges in imaging patients who may struggle with motion or discomfort. These challenges helps to develop better deep learning based multimodal medical image registration.

Table 1: Features and challenges of deep learning based multimodal medical image registration

| Author [citation] | Methodology | Features | Challenges |
| --- | --- | --- | --- |
| Alessa et al. [1] | CT images | - It provides high-resolution anatomical details, enabling the visualization of internal structures with remarkable clarity. | - The use of ionizing radiation in CT imaging poses a potential risk, particularly in repeated or high-dose scans. |
| A. Lara et al. [2] | CT images | - It is versatile and can be used for various applications, including soft tissue imaging, vascular studies, and bone imaging. | - It is excellent for visualizing bones and dense tissues, it may have limitations in providing detailed soft tissue contrast compared to other modalities like MRI. |
| Jing et al. [3] | DRL | - It allows models to learn autonomously by interacting with an environment, making it suitable for adaptive and dynamic tasks in medical imaging. | - It may require substantial amounts of data and computational resources to achieve optimal performance, making it challenging in scenarios where data is limited. |
| Julia et al. [4] | CNN | - It excels at automatically learning hierarchical features from images, making them well-suited for tasks such as image classification and segmentation. | - It may require large labeled datasets for training, and performance can suffer when faced with insufficient or biased data. |
| Anika et al. [5] | CNN | - It excel at automatically learning hierarchical features from images. | - CNNs may struggle with understanding the global context of an image, especially in cases where contextual information is crucial for accurate diagnosis. |
| Fei et al. [6] | LDAD | - It can adaptively learn image representations, improving their ability to capture relevant features for specific tasks. | - It may be sensitive to noise in the input data, impacting the quality of learned descriptors. |
| Wei et al. [7] | MRI image | - It provides excellent soft tissue contrast, making it valuable for imaging organs, muscles, and nerves. | - It is is generally more expensive than CT, and access to MRI may be limited in some healthcare settings. |
| Xuxin et al. [8] | MRI image | - It does not use ionizing radiation, making it safer for certain patient populations, such as pregnant women. | - It scans typically take longer than CT scans, leading to potential challenges in imaging patients who may struggle with motion or discomfort. |

Research Methodology

Multimodal medical image registration plays a pivotal role in modern healthcare by enabling the integration of diverse imaging data to enhance diagnosis, treatment planning, and image-guided interventions. The multimodal medical image registration stands as an indispensable tool in modern healthcare. Its ability to seamlessly integrate information from different imaging modalities not only contributes to precise diagnoses but also plays a crucial role in enhancing the accuracy of medical interventions. As technology continues to advance, the future holds exciting possibilities for further refining and expanding the applications of medical multimodal medical image registration in the realm of healthcare. Multimodal registration of images acquired at different time points helps in monitoring the progression of diseases, such as tumor growth or the development of neurodegenerative disorders. This is essential for assessing treatment efficacy and adjusting therapeutic strategies. On other hand achieving subpixel accuracy is challenging, and multimodal registration algorithms may introduce errors. These errors can impact the reliability of the registered images, especially in areas with complex anatomical structures or significant deformations. To reduce these kinds of issues, an adaptive deep learning-based multimodal medical image registration model is proposed using hybrid heuristic approaches.  In the initial phase, the multimodal medical images will be aggregated from the online sources. Further, the image will be fed to the image registration phase. Here, it will be done by the Adaptive Trans-ResUnet (ATRUNet), where the registration performance of the ATRUNet will be strengthened by tuning the parameter using the hybrid Gorilla Troops Optimizer (GTO) and Gold Rush Optimizer (GRO). At last, the experimental validation will be performed on the suggested multimodal medical image registration model to prove the effectiveness of the suggested model. The structural view of the deep learning based multimodal medical image registration framework is offered in Figure 1.

Gathered image

Medical image registration using ATRUNet

GTO+GRO

Final outcome

Figure 1: Diagrammatic representation of proposed deep learning based multimodal medical image Model

Dataset Details

Dataset 1: https://cvit.duke.edu/resource/multimodal-ground-truth-datasets-for-abdominal-medical-image-registration/

Dataset 2: https://www.kaggle.com/datasets/chenghanpu/brain-tumor-mri-and-ct-scan

Expected Outcome

The proposed deep learning based multimodal medical image registration framework will be developed in Python, and the experimental analysis will be carried out. Here, the performance of the proposed model will be compared over the conventional models.

References

- Alessa Hering; Lasse Hansen; Tony C. W. Mok; Albert C. S. Chung, "Learn2Reg: Comprehensive Multi-Task Medical Image Registration Challenge, Dataset and Evaluation in the Era of Deep Learning," in IEEE Transactions on Medical Imaging, vol. 42, no. 3, pp. 697-712, March 2023.

- A. Lara-Hernández; T. Rienmüller; I. Juárez; M. Pérez; F. Reyna., "Deep Learning-Based Image Registration in Dynamic Myocardial Perfusion CT Imaging," in IEEE Transactions on Medical Imaging, vol. 42, no. 3, pp. 684-696, March 2023.

- Jing Hu; Zhikun Shuai; Xin Wang; Shu Hu; Shanhui Sun; Siwei "Attention Guided Policy Optimization for 3D Medical Image Registration," in IEEE Access, vol. 11, pp. 65546-65558, 2023.

- Julia Andresen, Timo Kepp, Jan Ehrhardt, Claus von der Burchard, Johann Roider & Heinz Handels . "Deep learning-based simultaneous registration and unsupervised non-correspondence segmentation of medical images with pathologies".  International Journal of Computer Assisted Radiology and Surgery , 699–710, 2022.

- Anika Strittmatter, Lothar R. Schad, Frank G. Zöllner "Deep learning-based affine medical image registration for multimodal minimal-invasive image-guided interventions – A comparative study on generalizability", 22 june 2023.

- Fei Zhu, Xingxing Zhu, Zhiwen Huang, Mingyue Ding, Qiang Li, Xuming Zhang "Deep learning based data-adaptive descriptor for non-rigid multi-modal medical image registration"Signal Processing Volume 183, 108023,June 2021.

- Wei Shao , Linda Banh , Christian A. Kunder , Richard E. Fan , Simon J.C. Soerensen , Jeffrey B. Wang , Nikola . Teslovich , Nikhil Madhuripan , Anugayathri Jawahar, Pejman Ghanouni , James D. Brooks d, Geoffrey A. Sonn , Mirabela Rusu"ProsRegNet: A deep learning framework for registration of MRI and histopathology images of the prostate"Medical Image Analysis Volume 68, 101919,February 2021.

- Xuxin Chen, Ximin Wang, Ke Zhang, Kar-Ming Fung, Theresa C. Thai, Kathleen Moore, Robert S. Mannel, Hong Liu , Bin Zheng, Yuchen Qiu"Recent advances and clinical applications of deep learning in medical image analysis"Medical Image Analysis Volume 79, 102444,July 2022.

- F. Zhang, W. M. Wells and L. J. O’Donnell, "Deep Diffusion MRI Registration (DDMReg): A Deep Learning Method for Diffusion MRI Registration,"IEEE Transactions on Medical Imaging, vol. 41, no. 6, pp. 1454-1467, June 2022.

- Haskins, G., Kruger, U. & Yan, P. "Deep learning in medical image registration: a survey". Machine Vision and Applications Vol. 31, pp.8, 2020.

- 11.Liwei Deng, Qi Lan, Qiang Zhi, Sijuan Huang, Jing Wang & Xin Yang. "Deep learning-based 3D brain multimodal medical image registration".  Medical & Biological Engineering & Computing, 2023.

- Islam, K.T., Wijewickrema, S. & O’Leary, S. "A deep learning based framework for the registration of three dimensional multi-modal medical images of the head". Scientific Reports Vol.11, pp.1860, 2021...

- S. Zheng, D. Jiejie, Y. Yue, M. Qi and S. Huifeng, "A Deep Learning Method for Motion Artifact Correction in Intravascular Photoacoustic Image Sequence," IEEE Transactions on Medical Imaging, vol. 42, no. 1, pp. 66-78, Jan. 2023.

- X. Liang, S. Lin, F. Liu, D. Schreiber and M. Yip, "ORRN: An ODE-Based Recursive Registration Network for Deformable Respiratory Motion Estimation With Lung 4DCT Images,"IEEE Transactions on Biomedical Engineering, vol. 70, no. 12, pp. 3265-3276, Dec. 2023.

- Z. Gan, W. Sun, K. Liao and X. Yang, "Probabilistic Modeling for Image Registration Using Radial Basis Functions: Application to Cardiac Motion Estimation,"  IEEE Transactions on Neural Networks and Learning Systems, vol. 34, no. 10, pp. 7324-7338, Oct. 2023.

- J. Krebs, H. Delingette, B. Mailhé, N. Ayache and T. Mansi, "Learning a Probabilistic Model for Diffeomorphic Registration," IEEE Transactions on Medical Imaging, vol. 38, no. 9, pp. 2165-2176, Sept. 2019.

- J. A. Onofrey, L. H. Staib and X. Papademetris, "Segmenting the Brain Surface From CT Images With Artifacts Using Locally Oriented Appearance and Dictionary Learning," IEEE Transactions on Medical Imaging, vol. 38, no. 2, pp. 596-607, Feb. 2019.

- G. Wu, M. Kim, Q. Wang, B. C. Munsell and D. Shen, "Scalable High-Performance Image Registration Framework by Unsupervised Deep Feature Representations Learning," IEEE Transactions on Biomedical Engineering, vol. 63, no. 7, pp. 1505-1516, July 2016.

- R. Souza, Y. Beauferris, W. Loos, R. M. Lebel and R. Frayne, "Enhanced Deep-Learning-Based Magnetic Resonance Image Reconstruction by Leveraging Prior Subject-Specific Brain Imaging: Proof-of-Concept Using a Cohort of Presumed Normal Subjects,"IEEE Journal of Selected Topics in Signal Processing, vol. 14, no. 6, pp. 1126-1136, Oct. 2020.

- .P. Yang , "Four-Dimensional Cone Beam CT Imaging Using a Single Routine Scan via Deep Learning,"IEEE Transactions on Medical Imaging, vol. 42, no. 5, pp. 1495-1508, May 2023.

- R. Deng et al., "Map3D: Registration-Based Multi-Object Tracking on 3D Serial Whole Slide Images,” IEEE Transactions on Medical Imaging, vol. 40, no. 7, pp. 1924-1933, July 2021.

- H. Cui, D. Wei, K. Ma, S. Gu and Y. Zheng, "A Unified Framework for Generalized Low-Shot Medical Image Segmentation With Scarce Data," IEEE Transactions on Medical Imaging, vol. 40, no. 10, pp. 2656-2671, Oct. 2021.

- R. Schaffert, J. Wang, P. Fischer, A. Borsdorf and A. Maier, "Learning an Attention Model for Robust 2-D/3-D Registration Using Point-To-Plane Correspondences,"IEEE Transactions on Medical Imaging, vol. 39, no. 10, pp. 3159-3174, Oct. 2020.

- W. Wu, J. Zhang, W. Peng, H. Xie, S. Zhang and L. Gu, "CAR-Net: A Deep Learning-Based Deformation Model for 3D/2D Coronary Artery Registration," IEEE Transactions on Medical Imaging, vol. 41, no. 10, pp. 2715-2727, Oct. 2022.

- X. Zhang, L. Han, L. Han, H. Chen, D. Dancey and D. Zhang, "sMRI-PatchNet: A Novel Efficient Explainable Patch-Based Deep Learning Network for Alzheimer’s Disease Diagnosis With Structural MRI," in IEEE Access, vol. 11, pp. 108603-108616, 2023.

- Benyamin Abdollahzadeh, FarhadSoleimanianGharehchopogh and SeyedaliMirjalili, “Artificial gorilla troops optimizer: A new nature-inspired metaheuristicalgorithm for global optimization problems”, International Journal of Intelligent Systems,vol. 36, no. 1, July, 2021.

- Kamran Zolfi, "Gold rush optimizer, a new population-based metaheuristic algorithm", Operations Research and Decisions, Vol. 33, No. 1, 2023.